BPA Comments to NAESB March 17, 2015 Request for Industry Comment

Comment Due-Date April 27, 2015

BPA appreciates the NAESB OASIS Subcommittee providing an industry formal comment period to the NAESB Recommendation for Annual Plan Item 7.c., ‘Clarify when Transmission Service Providers may refuse a request for termination secondary network service based on the availability of capacity’.  We have reviewed the Recommendation and specifically agree with:

- The Bonneville Power Administration thinks the addition of standard WEQ 001-106.2.1.1. which clarifies that the TC’s request to terminate secondary network service should only be applied to unscheduled network service; and,

- The retention, without modifications, of standards WEQ 001-106.2.6 and 106.2.7 that continues to support the TP’s ability to evaluate and respond to network service termination requests.