Formal Comments

Quadrant:              Wholesale Electric Quadrant

Document: 	WEQ 2016 Annual Plan Item 5.c

Submitted By:       MISO

Date:                      January 5, 2017

In an effort to maintain consistency with WEQ-000 Abbreviations, Acronyms, and Definitions of Terms, we recommend the following changes be made to WEQ-022:

- Introduction replace “Electric Industry Registry” with “EIR”

- Section 022-1.1.6 change “MO” to “MOs”

As a customer, MISO needs information on the Publication and Approval process.  We request the following reviewed and appropriate changes made to WEQ-022:

- Section 022-3 MISO is concerned that there are “Emergency Change Publication” guidelines but no Normal or Standard guidelines

- Section 022-4 MISO is concerned that there are no longer timeframes for approvals